The Catalogue of Yancheng Qingda Chemical Industry Co,.Ltd.

1. General PVC Cable Materials

| 8620 | 70℃soft PVC insulation plastics |
| --- | --- |
| 8620-2 | 70℃soft PVC sheath plastics |
| 8620-3 | 70℃soft PVC sheath plastics |
| 8620-4 | 70℃insulating soft PVC plastics of high electrical property |
| 8620-9 | 70℃semirigid PVC insulating materials |
| 8620-13 | 70℃cold-resistant sheath materials |
| 8620-15 | 70℃ sheath plastics special soft PVC |
| 8620-10 | 1KVsoft PVC overhead cable materials |
| 8621 | 80℃insulating soft PVC plastics |
| 8621-3 | 80℃soft PVC sheath plastics |
| 8622 | 90℃insulating soft PVC plastics |
| 8622-1 | 90℃soft PVC sheath plastics |
| 8623 | 105℃insulating soft PVC plastics |
| 8623-5 | 105℃soft PVC sheath plastics |
| 8623-8 | 105℃PVC elastic insulating materials |

2. Burning-proof PVC cable materials

| 8620-5 | 70℃soft PVC burning-proof sheath plastics（5#） |
| --- | --- |
| 8620-6 | 70℃soft PVC burning-proof sheath plastics（hard） |
| 8620-7 | 70℃soft PVC burning-proof insulating plastics |
| 8621-2 | 80℃soft PVC oil-resistant burning-proof insulating plastics |
| 8621-4 | 80℃burning-proof insulating materials |
| 8621-5 | 80℃burning-proof sheath materials |
| 8622-4 | 90℃burning-proof soft PVC sheath plastics of high electrical property |
| 8622-7 | 90℃burning-proof sheath materials |
| 8622-8 | 90℃soft PVC insulating burning-proof plastics |
| 8623-1 | 105℃soft PVC insulating burning-proof plastics |
| 8623-4 | 105℃burning-proof sheath materials |

3. Butyronitrile compound cable materials

| 8620-11 | 70℃butyronitrile sheath materials |
| --- | --- |
| 8620-12 | 70℃butyronitrile insulating materials |
| 8620-14 | 70℃cold-resistant sheath butyronitrile soft PVC plastics |
| 8622-6 | 90℃butyronitrile sheath materials |
| 8622-10 | 90℃butyronitrile insulating materials |
| 8622-11 | 90℃burning-proof butyronitrile insulating materials |
| 8623-7 | 105℃butyronitrile insulating materials |
| 8623-9 | 105℃burning-proof butyronitrile insulating materials |

4. Special PVC Cable Materials

| 8620Z | 70℃insulating Low-smoke low-halogen burning-proof soft PVC plastics |
| --- | --- |
| 8620Z-1 | 70℃Low-smoke low-halogen burning-proof soft PVC sheath plastics |
| 8620Z-2 | 90℃Low-smoke low-halogen burning-proof PVC sheath plastics |
| 8622-5 | 90℃mouse and termite resistant soft PVC sheath plastics |
| 8622-9 | 90℃termite resistant soft PVC plastics（environment-friendly） |
| 8622-11 | 90℃termite resistant soft PVC plastics（environment-unfriendly） |

5. Sheath materials for elevator cables

| 8620E | PVC elastic materials for elevator cable Sheath |
| --- | --- |
| 8620E-1 | 70℃ soft PVC cold-resistant elastic granules for elevator cable sheath |
| 8620E-2 | 70℃burning-proof soft PVC elastic granules for sheath |

6. PVC elastic granules

| 8620F-1 | 70℃PVC elastic sheath materials A-2 |
| --- | --- |
| 8620F-2 | 70℃PVC elastic sheath materials B |
| 8620F-3 | 70℃PVC elastic sheath materials C |
| 8620F-4 | 70℃soft PVC elastic materials |
| 8620F-5 | elastic sheath materials |
| 8620F-6 | elastic sheath materials |
| 8620F-7 | 70℃soft PVC burning-proof elastic granules |
| 8620F-9 | 70℃soft PVC matte elastomer |

7. Soft PVC draught excluder strip granules for vehicles

| 8630-1 | 65℃PVC draught excluder strip granules for vehicles |
| --- | --- |
| 8630-2 | 70℃PVC draught excluder strip granules for vehicles |
| 8630-3 | 72℃PVC draught excluder strip granules for vehicles |
| 8630-4 | 74℃PVC draught excluder strip granules for vehicles |
| 8630-5 | 80℃PVC draught excluder strip granules for vehicles |
| 8630-6 | 67℃PVC draught excluder strip granules for vehicles |
| 8630-7 | 85℃PVC draught excluder strip granules for vehicles |
| 8630-8 | 60℃PVC draught excluder strip granules for vehicles |
| 8630-9 | 60℃PVC transparent draught excluder strip granules for vehicles |
| 8630-10 | 90℃PVC draught excluder strip granules for vehicles |
| 8630-11 | 90℃PVC draught excluder strip granules for vehicles |
| 8630-12 | 75℃PVC draught excluder strip granules for vehicles |
| 8630-13 | 95℃PVC draught excluder strip granules for vehicles |
| 8630-14 | 78℃PVC elastic draught excluder strip granules for vehicles |